{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["LL97 Compliance - NYC ONLY"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"LL97 Compliance - NYC ONLY","index":0,"n_rows":60,"n_cols":26,"rows_kept":60,"cut":false,"hidden":false,"merged":[[50,5,50,16],[51,5,51,16],[59,2,59,6],[59,7,59,16],[53,5,53,16],[54,5,54,16],[56,1,56,16],[57,2,57,6],[57,7,57,16],[58,2,58,6],[52,5,52,16],[30,13,31,13],[30,14,30,16],[43,1,43,16],[44,5,44,16],[45,5,45,16],[46,5,46,16],[30,7,31,7],[30,8,31,8],[30,9,31,9],[30,10,31,10],[30,11,31,11],[30,12,31,12],[47,5,47,16],[48,5,48,16],[49,5,49,16],[27,2,27,3],[27,6,27,8],[27,13,27,16],[29,1,29,16],[30,1,31,1],[30,2,31,2],[30,3,31,3],[30,4,31,4],[30,5,31,5],[30,6,31,6],[25,2,25,3],[25,6,25,8],[25,13,25,16],[26,2,26,3],[26,6,26,8],[26,13,26,16],[23,2,23,3],[23,6,23,8],[23,13,23,16],[24,2,24,3],[24,6,24,8],[24,13,24,16],[21,2,21,3],[21,6,21,8],[21,13,21,16],[22,2,22,3],[22,6,22,8],[22,13,22,16],[19,2,19,3],[19,6,19,8],[19,13,19,16],[20,2,20,3],[20,6,20,8],[20,13,20,16],[16,1,16,16],[17,2,17,3],[17,6,17,8],[17,13,17,16],[18,2,18,3],[18,6,18,8],[18,13,18,16],[14,1,14,3],[14,4,14,7],[2,2,2,16],[3,2,3,16],[4,2,4,16],[5,2,5,16],[6,2,6,16],[7,2,7,16],[11,1,11,7],[12,1,12,3],[12,4,12,7],[13,1,13,3],[13,4,13,7]]}
[]
[null,"Instructions / Definitions / Notes "]
[null,1,"Local Law 97* requires owners of most buildings > 25,000 SF in NYC to deeply reduce their carbon emissions. The law is made up of two sections: Article 320 which establishes emissions limits for buildings starting in 2024 (although the deadline is delayed for certain affordable housing), and Article 321, which establishes an alternative compliance pathway for some affordable housing. Because many affordable housing projects are subject to Article 321 compliance deadlines in 2024, it is imperative that IPNA scopes enable buildings to comply. For projects subject to other deadlines, the IPNA can help buildings design for future compliance. "]
[null,2,"Completion of this tab is required for all projects in NYC subject to Local Law 97*. All other projects may skip this tab.  Completion of this tab is mandatory, and must align with the scopes outlined in the IPNA. It is recommended that projects with buildings with upcoming LL87 reporting deadlines implement scopes that incorporate all measures so as to be in compliance with LL97 and LL87 simultaneously - to the extent allowed by DOB. This tab will be used to inform building scopes and ensure that the proper steps are taken for compliance. It will be the owner's responsibility to produce the mandatory reports to prove compliance. As of November 2021, LL97 rulemaking has not been finalized. Provider should use the most up-to-date LL97 guidance released by the DOB: see links at bottom of page."]
[null,3,"Fill in Table 1 for every building in the project > 25,000 sf and/or subject to Local Law 97, noting which section of the law is applicable. See link at bottom of page for HPD's\"Fact Sheet for LL97 and Affordable Housing\""]
[null,4,"Fill in Table 2 for every building in the project proposing to meet LL97 Compliance by implementing  the applicable Prescriptive Energy Conservation Measures (as outlined in Article 321). The scope outlined in this table must align with the scope outlined in the rest of the IPNA, including Scope and Prelim, O&M, and Replacement Cost Schedule tabs as appropriate. "]
[null,5,"Fill in Table 3 for every building in the project proposing to meet LL97 compliance by meeting the appropriate emissions limits outlined in LL97 (buildings subject to Article 321 must meet 2030 limits in 2024, buildings subject to Article 320.3.9. will meet 2035 limits starting in 2035). The scope outlined in this table must align with the scope outlined in the rest of the IPNA, including Scope and Prelim, O&M, and Replacement Cost Schedule tabs as appropriate. "]
[null,"*","If you have any questions about Local Law 97, including Articles 320 or 321, or would like guidance on Local Law 97 for Affordable Housing, please see the links at the bottom of the page. "]
[]
[null,"LOCAL LAW 97 COMPLIANCE REPORT & WORKSHEET - APPLICABLE NYC BUILDINGS ONLY"]
[]
[null,"Project Info"]
[null,"Project Name"]
[null,"Total # of Buildings in Project"]
[null,"Total # of Buildings in Project subject to LL97",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Heating System","Heating System","Heating System"]
[]
[null,"TABLE 1: FILL IN FOR ALL BUILDINGS IN PROJECT > 25,000 SF AND/OR SUBJECT TO LOCAL LAW 97 (add additional rows if necessary)"]
[null,"#","Address",null,"BBL","Building GSF","LL97 Compliance Requirement",null,null,"Existing GHG intensity (tons CO2e/ sf)","Meets 2024 limits (Y/N)?","Meets 2030 limits (Y/N)?","Primary Fuel Type (heating)","Proposed LL97 Compliance Pathway ",null,null,null,null,9,"Heating System","Heating System","Heating System","Heating System"]
[null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Building is below 2030 limits"]
[null,{"$f":"B19+1","v":2},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Prescriptive Measures (see Table 2)"]
[null,3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Will meet 2030 limits (see Table 3)"]
[null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Subject to 2035 limits in 2035 (see Table 3)"]
[null,5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Other (see Table 3)"]
[null,6]
[null,7,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Article 321"]
[null,8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Article 320.3.9 (2035 extension)"]
[null,9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"N/A - not subject to LL97"]
[null,{"$f":"B27+1","v":10},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Other "]
[]
[null,"TABLE 2: FOR ALL BUILDINGS IMPLEMENTING ARTICLE 321 PRESCRIPTIVE MEASURES (select \"X\" if item is included, \"n/a\" if item is not applicable to building)"]
[null,"#","Address","Existing Heating Distribution System","Temperature Set-Points","Heating System Leaks","Maintain Heating System","Individual Temp. Controls","Pipe Insulation","Tank Insulation","Heating System Sensors & Controls","Common Area Lighting","Weatherizing & Air Sealing","Exhaust Fan Timers","For Steam Systems Only"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Inspect/ Repair Steam Traps","Master Venting","Radiant Barriers"]
[null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"1-Pipe Steam"]
[null,{"$f":"B33+1","v":2},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"2-Pipe Steam"]
[null,3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Hydronic"]
[null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Furnace"]
[null,5,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Electric Resistance"]
[null,6,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Electric PTAC"]
[null,7,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Heat Pump"]
[null,8,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"X"]
[null,9,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"n/a"]
[null,10]
[]
[null,"TABLE 3: NARRATIVE FOR ALL BUILDINGS SUBJECT TO LL97 THAT ARE NOT LISTED IN TABLE 2 OR NOT ALREADY IN COMPLIANCE"]
[null,"#","Address","Primary Fuel Type (heating)","Projected GHG intensity (tons CO2e/ sf)","Scope Narrative: How will buildings meet applicable GHG limits (must match outputs in IPNA including energy savings and scope of work description)"]
[null,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Oil"]
[null,{"$f":"B46+1","v":2},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Gas"]
[null,3,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Electric"]
[null,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Other"]
[null,5]
[null,6]
[null,7]
[null,8]
[null,9]
[null,10]
[]
[null,"NOTES AND RESOURCES"]
[null,1,"Local Law 97 Compliance Requirements for Affordable Housing:",null,null,null,null,"https://www1.nyc.gov/site/hpd/services-and-information/ll97-guidance-for-affordable-housing.page"]
[null,2,"DOB's Local Law 97 Page:",null,null,null,null,"Local Law 97 - Sustainable Buildings (nyc.gov)"]
[null,3,"DOB's Local Law 97 Reporting Page:",null,null,null,null,"https://www1.nyc.gov/site/buildings/codes/greenhouse-gas-emission-reporting.page"]